Fire risk assessment

| Company Name | The Wheels Project ltd |
| --- | --- |
| Address of premises (premises being assessed) | 31-32 Bonville road, Brislington, Bristol BS4 5QH |
| Name of Responsible Person | David Glossop | Signature |  |
| Name of person undertaking the assessment | David Glossop | Signature |  |
| Date of assessment | 20.6.19 | Review Date | 19.6.20 |
| Additional Considerations | Yes / No N/A | Comment |
| Is the workplace/premises subject to a separate licensing scheme? e.g. Sports Grounds, Special Events, Entertainment etc. | No | Review content, reference additional documentation and ensure compliance with existing licence or certificate conditions. |
| Are there any specific site conditions imposed by the Enforcement Authorities due to the work activity, stored substances, assessed hazards/risks etc? | No | Review content, reference additional documentation and ensure compliance with existing site-specific conditions. |

Step 1 - Identify fire hazards

1.1 Potential Sources of Ignition

| Hazard | Yes / No N/A | How is the risk controlled? |
| --- | --- | --- |
| Is smoking permitted? | no | Collection bins placed next to external doors and outside |
| Does work involve a source of heat? e.g. welding, incineration or cooking | yes | Annual independent inspectionof heaters, welding gear and all electrical items plus weekly observations on all of above by workshop manager |
| Are light bulbs or fittings near to combustible materials? | no |  |
| Is there any faulty or misused electrical equipment (include wiring on machinery and the use of multi-point adaptors)? | no | Replaced or repaired as soon as fault detected through regular checks |
| Is there a risk of static electricity? | yes | Low risk – keep areas clean, tidy with minimal combustables on display. Store in cool dry place. |
| Is the heating system in a satisfactory condition & maintained by a competent person? | yes | B Gas maintain annually and we check regularly. Maintained just before high use (November). Timer set to daytime and week days only when staff present |
| Are portable/radiant heaters used? | yes | One in main office Always switched off at night |
| Are there adequate measures to reduce the assessed risk from arson? | yes | Shuttered and alarmed premises |
| Are there sources of mechanically generated sparks or friction? | yes | Screens used to protect immediate environment when generated |
| Are hot surfaces present? | yes | Soldering irons, exhaust systems and welding – all staff and students warned to keep combustables away from heat |
| Are there any other sources of ignition present? e.g. naked flames | no |  |

1.2 Combustible materials and structural features

| Hazard | Yes / No N/A | How is the risk controlled? |
| --- | --- | --- |
| Are there highly flammable materials used or stored in the workplace? e.g. paints, oil based solvents, adhesives etc. | yes | No more than 5litres. Stored in cool dry storage room and locked |
| Are there flammable gases present? e.g. acetylene, butane, Calor gas or LPG | yes | Heating systems see above. 2 cylinders stored in main workshop. Stored upright and chained on wheeled trolley so can moved outside at short notice |
| Do walls/ceilings have combustible coverings or linings? e.g. decorations/displays made of hardboard, plastic tiles or flock wallpaper | no |  |
| Are flammable substances stored in appropriate containers? | yes | Marked and stored in locked area specifically for this |
| Is combustible waste correctly managed and disposed of? e.g. paper, dust, off-cuts etc | yes | Regular (max weekly) emptying of waste bins and taken away weekly by Bristol City Council |
| Are there any sources of stored oxygen? e.g. oxygen cylinders or oxidizing chemicals | yes | Stored upright and chained and valves checked before use and weekly |
| Does the workplace include any features that could promote rapid spread of fire, heat or smoke? e.g. suspended ceilings, wall voids or wedged open fire doors | yes | Office and classroom areas have suspended ceilings but considered low risk fire areas as kept clean and tidy with combustibles removed after use (paper mainly) |
| Are there any obstructions/unusual features that could block exit routes? e.g. spiral staircase | no |  |
| Are there any adjacent tenants, premises or facilities that may present an additional risk? | no | Solid brick/breezeblock walls |
| Are procedures in place to control any changes or the introduction of additional hazards to the workplace? | yes | Risk assessment on each new piece of equipment |

1.3 Sources of ignition and combustible materials

| Additional Control Measures | Priority | Person Responsible | Completion Date |
| --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |

Step 2 - People at risk

2.1 People at risk

| Hazard | Yes / No N/A | How is the risk controlled? |
| --- | --- | --- |
| Are there persons e.g. employees, visitors or contractors working in areas of high fire risk? | yes | Fire exits, fire alarms, fire drills held termly |
| Are there persons working alone or in remote areas? e.g. contractors or security staff | no |  |
| Are employees particularly at risk as a result of the work they undertake? | no |  |
| Is there a likelihood that large numbers of people will be present who are unfamiliar with the premises and emergency arrangements? e.g. social event or seminar | no |  |
| Can all employees react quickly to a fire or an alarm? | yes | See above |
| Are there any persons at heightened risk that may need personal assistance to evacuate the premises? e.g. young children, disabled persons or those with sensory impairments | no |  |
| Are all those that may be affected by a fire made aware of the emergency procedures? e.g. employees, visitors or contractors etc | yes | Induction and drills. Fire action notices displayed |
| Could a fire have an impact on other occupants, tenants or those in the vicinity? e.g. neighbours and shared premises | yes | Next door if it was serious enough – we’d let them be aware of such a fire |
| Are there any (temporary or other) sleeping facilities on the premises? Consider those with hearing impairment | no |  |

2.1 People at risk

| Additional Control Measures | Priority | Person Responsible | Completion Date |
| --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |

Step 3 - Evaluate required fire measures

3.1 Fire detection & warning

| Procedure | Yes / No N/A | How is the procedure applied? |
| --- | --- | --- |
| Are arrangements in place for detecting a fire? e.g. fire, heat, smoke detectors or monitoring of isolated areas | yes | Drills and regular maintenance checks by qualified electrician on automatic smoke alarms and emergency lighting |
| Are arrangements in place to provide suitable warning in the event of fire? e.g. sounders, strobes or personal alerts | yes | Checked by weekly tests and recorded |
| Can all occupants easily recognise the evacuation warning signals? e.g. those with hearing, mobility, sight impairment, sleeping or in a noisy working environment | yes |  |
| Will the detection arrangements/equipment give sufficient early warning to enable the affected persons to escape in good time? | yes | Lots of alternative emergency exits available |
| Is automatic fire detection and alarm provided where people sleep on the premises? | n/a |  |
| Is automatic fire detection provided where fires may develop unnoticed? e.g. loft, voids or external storage facilities | n/a |  |
| Have electrically powered fire detection and warning systems been installed by competent persons to the relevant standards? | yes | Inspect the qualifications and competency of equipment after servicing |

3.2 Means of escape

| Procedure | Yes / No N/A | How is the procedure applied? |
| --- | --- | --- |
| Do escape routes lead to a place of safety? e.g. away from traffic routes | yes | 27 place car park – signposted and signed as meeting point |
| Are there sufficient exits for the number of people present in the workplace (consider public access, social function/seminar etc.)? | yes | 3 in range of aspects and position |
| Are escape routes free of obstructions? e.g. stacked items or parked vehicles | yes | Walkways and exit points kept clear at all times |
| Can all fire safety signs and fire exit signs be clearly seen and understood? | yes | Updated on any changes needed by Citation plc (experts in the field) |
| Where necessary do fire exit doors open in the direction of escape? | yes |  |
| Are all internal and external fire doors clearly labelled and have sufficient rating? e.g. FD 30 has a 30 minute fire rating | yes |  |
| Are fire escape routes, corridors, staircases and safe refuges protected where necessary? | yes |  |
| Are escape routes of adequate width for the number and type of occupants using them? e.g. max occupancy and wheelchair users | yes |  |
| Are fire doors and their self-closing devices maintained by a competent person and in good working order? | yes |  |
| What is the agreed evacuation time taking account of reaction time? e.g. can all occupants get to the assembly point/place of safety within two to three minutes? | yes | Less than 60 seconds |

3.2 Means of escape

| Procedure | Yes / No N/A | How is the procedure applied or monitored? |
| --- | --- | --- |
| Taking account of reaction time, can people in high-risk areas reach a place of safety or point where more than one exit route is available, in one minute or less? | yes |  |
| Taking account of reaction time, can people in areas with only one escape route, reach a place of safety or point where more than one exit route is available, in one minute or less? | yes |  |
| Can the alarm be raised without anyone being placed at risk? e.g. call points sited on exit routes | yes |  |
| Are door fastenings simple to open without the need for a key? | yes |  |
| Do fire doors shut fully when closed? | yes |  |
| Do doors fitted with automatic releases operate when the alarm system is activated? | n/a |  |
| Are escape routes adequately signed, including the running man pictogram? | yes |  |
| Are escape routes adequately lit? | yes | We have emergency lighting installed and checked at least annually |
| Where necessary is escape/emergency lighting sufficient? | yes | Tested it |
| Are adequate escape provisions made for people with special needs? | yes | High supervision levels |

3.3 Provision of fire-fighting equipment

| Equipment | Yes / No N/A | How is the equipment controlled? |
| --- | --- | --- |
| Is suitable and sufficient fire-fighting equipment provided? e.g. of the correct type, location and number Please refer to the attached chart “Types of Fire Extinguisher” | yes | Stored correctly and checked annually and renewed /re filled immediately after use |
| Are portable fire extinguishers, fire blankets suitably located? | yes | Numbers and types recommended by contractors |
| Is fire-fighting equipment sited on exit routes or adjacent to exits? | yes |  |
| Have sufficient numbers of employees been trained and competent in the use of fire-fighting equipment? | yes | We also have a fully trained and accredited Fire Marshal trained by ST John’s ambulance |
| Is fire-fighting equipment clearly visible and are fire instructions clearly displayed? | yes | All new staff trainees receive full training in their induction programme |
| Has all fire safety equipment been regularly checked and maintained by competent persons in accordance with manufacturer’s recommendations? | yes |  |

3.4 Evaluation of fire detection, warning, escape and fire fighting equipment

| Additional Control Measures | Priority | Person Responsible | Completion Date |
| --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |

Step 4 – Records, emergency plan and training

4.1 Fire emergency plan & training

| Emergency plan content | Yes / No N/A | How is the plan communicated? |
| --- | --- | --- |
| Are arrangements in place for calling the Fire Service and other relevant persons? e.g. premises owner, responsible person or tenants | yes | In our policy and word of mouth and chart hanging on wall |
| Are evacuation procedures for those at heightened risk in place? e.g. disabled | yes |  |
| Have the evacuation procedures been communicated to all staff and affected parties? | yes | Induction when they join us |
| Who will liaise with the emergency services? e.g. fire marshal or responsible person | yes | Our appointed fire marshal |
| Has information been provided to the emergency services regarding rescue and fire fighting (in respect of any special risks involved in the workplace)? E.g. storage of chemicals or compressed gases etc | yes | 2012 |
| Is training carried out regarding the Fire emergency plan? | yes | Induction and updates from Citation and fire extinguishers contractor |
| Have you designated and signed the Evacuation Muster/Fire Assembly points? | yes |  |
| Are persons trained and nominated to ensure the buildings or site is clear? e.g. fire marshal duties to include a “sweep” of designated areas | yes |  |
| Are persons trained and nominated to ensure a roll call is taken at muster/fire assembly point? | yes |  |

4.1 Fire emergency plan & training

| Emergency plan content | Yes / No N/A | How is the plan communicated? |
| --- | --- | --- |
| Has a person been nominated to take the visitor’s book (if applicable) to the muster/fire assembly point? | yes | administrator |
| Has a diagram of the premises/site been completed? The diagram should include as appropriate: - Fire alarm zones Occupied areas/rooms Essential structural features Location of fire fighting equipment Fire alarm panel and call points Location of control valves for fire systems Location of main services isolation points Escape routes and designated fire exits Designated fire refuges/places of safety Muster/fire assembly points Locations of any hazardous substances, including compressed gases Location of communications system Where known, any underground rooms, voids or drains Overhead and underground cables/services and Any other identified risk that is felt to be appropriate | yes | Shown at induction and copy given to nearby fire station (Closed July 2017) |

4.1 – Fire emergency plan & training

| Additional Control Measures | Priority | Person Responsible | Completion Date |
| --- | --- | --- | --- |
| 1 |  |  |  |  |
| 2 |  |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |  |
| 6 |  |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |  |

Step 5 – Review

| Name of Responsible Person | David Glossop | Position | General Manager |
| --- | --- | --- | --- |
| Planned Review Date | 29.1.18 | Actual Review Date | 29.1.18 |
| Review Considerations | This Fire Risk Assessment should be reviewed annually or following: Recommendation of the “responsible person” or Enforcement Authorities Serious Fire Incident, including arson and vandalism Change of working practices or use of premises Change of occupancy or tenant activity Increase in occupancy (e.g. type or number) or work shift patterns Structural alteration Change in volume and type of stored combustible/flammable materials Introduction of new work equipment or processes Change in neighbouring premises/activities that may affect the assessed hazard/risks and Any other significant or material change to the previous assessment details |

5.1 Fire training matrix

| Trainer | Tutorcare ltd | Fire induction training | Fire alarm recognition | Evacuation procedure | Raising the alarm | Alerting the fire service | Fire assembly points | Identifying fire hazards | Understand causes of fire | Understand spread of fire | Action upon discovering a fire | Use of fire extinguishers | Duties of the Responsible Person | Duties of the Fire Marshal | Fire risk assessment | Fire monitoring and checking | Record keeping/fire log book |
| --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Location | Wheels |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Date | 4.10.17 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Review | October 2019 |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Attendees |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |  |
| Glossop | X | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |
| Farrance | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |
| Beese | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x | x |
| Challener | x | x | x | x | x | x | x |  |  | x | x |  | x | x |  | x |